## Basic Information
IEEE Std 1584-2002 Arc-Flash Hazard Calculator
Site: | Site | Enter the site name or designation
Date: | 2002-08-05 | Enter the date of the analysis
Instructions for using calculator forms:
1. Enter data only in yellow and blue cells.
2. Information in light green and white cells is calculated.
3. If information is entered beyond the limits of the CB or fuse calculations, the protective device field will change to orange as a warning flag.
4. All distances are in millimeters.
5. Refer to IEEE Std 1584-2002 Annex B for guidance on application and use of this calculator.
Range of Models:
The equations in the IEEE Std 1584-2002 empirically derived model are valid within the limits shown below:
Voltages from 208 V to 15 kV, three phase
Frequencies of 50 or 60 Hz
Bolted fault current from 700 A to 106 kA
Grounding of all types
Equipment enclosures of commonly available sizes
Gaps between conductors of 13mm (.5") to 152 mm (6")
Faults involving three phases
The Lee method is used for voltages over 15kV.
Cautions and Disclaimers
As an IEEE guide, this document suggests approaches for conducting an arc-flash hazard analysis but does not have mandatory requirements. Following the suggestions in this guide does not guarantee safety, and users should take all reasonable, independent steps necessary to minimize risks from arc flashes.
Users should be aware that the models in this guide are based upon measured arc current incident energy under a specific set of test conditions and on theoretical work. Distances, which are the basis for equations, are based on the measured distance of the test instrument from the arc-flash point source. These models will enable users to calculate the estimated maximum incident energy and the estimated arc-flash boundary distance. Real arc exposures may be more or less severe than indicated by these models.
This document is intended to provide guidance for the calculation of incident energy and arc-flash protection boundaries. Once calculated, this information can be used as a basis to develop strategies that have the goal of minimizing burn injuries. Strategies include specifying the rating of personal protective equipment (PPE), working deenergized, applying arc-resistant switchgear, and following other engineering techniques and work practices.
This guide is based upon testing and analysis of the hazard presented by incident energy. The potentially hazardous effects of molten metal splatter, projectiles, pressure impulses, and toxic arc by-products have not been considered in these methods. It is expected that future work will provide guidance for these other electrical hazards.
Available bolted fault currents should be determined at the point of each potential fault. Do not use overly conservative bolted fault current values. A conservatively high value may result in lower calculated incident energy than may actually be possible depending on the protective device’s time-current response. The lower results would be caused by using a faster time-current response value from the protective device’s time-current curve.
Where used, PPE for the arc-flash hazard is the last line of defense. The protection is not intended to prevent all injuries but to mitigate the impact of an arc flash upon the individual, should one occur. In many cases, the use of PPE has saved lives or prevented injury. The calculations in this guide will lead to selection of a level of PPE that is a balance between the calculated estimated incident energy exposure and the work activity being performed while meeting the following concerns:
The desire to provide enough protection to prevent a second degree burn in all cases.
The desire to avoid providing more protection than is needed. Hazards may be introduced by the garments such as heat stress, poor visibility, and limited body movement.
Professional judgement must be used in the selection of adequate PPE.
While it is outside the scope of this document to mandate PPE, some examples of where PPE may be required are: during load interruption, during the visual inspection that verifies that all disconnecting devices are open, and during the lockout/tagout. Adequate PPE is required during the tests to verify the absence of voltage after the circuits are deenergized and properly locked out/tagged out.
This information is based on technical data believed by the IEEE Std 1584-2002 working group to be reliable. It is offered as a tool for conducting an arc-flash hazard analysis. It is intended for use only by those experienced in power system studies and is not intended to substitute for the users’ judgment or review in such studies. It is subject to revision as additional knowledge and experience is gained. IEEE, those companies that contributed test data, and those people who worked on development of this standard make no guarantee of results and assume no obligation or liability whatsoever in connection with this information.
This guide is not intended to imply that workers be allowed to perform work on exposed energized equipment or circuit parts. It must be emphasized that the industry-recommended way to minimize electrical injuries and fatalities is to ensure that equipment is deenergized and in an electrically safe work condition. But even this act, creating an electrically safe work condition, subjects the worker to potential hazards, which if they occur, require PPE for protection against arc-flash burns.
Work intentionally performed on or near energized equipment or circuits is limited by standards and regulations, such as those issued by OSHA. OSHA 29 CFR Subpart S.1910.333 severely limits the situations in which work is performed near or on equipment or circuits that are or may be energized.
“Live parts to which an employee may be exposed shall be deenergized before the employee works on or near them, unless the employer can demonstrate that deenergizing introduces additional or increased hazards or is infeasible due to equipment design or operational limitations.”
Financial considerations are not an adequate reason to work on or near energized circuits.
For ready access to the specific needed flash-protection boundary, working distance, and incident energy, such calculated values should be prominently displayed on every piece of electrical equipment where an arc-flash hazard exists in a workplace or otherwise be made available to workers.
Warranty
THE IEEE DOES NOT WARRANT OR REPRESENT THE ACCURACY OR CONTENT OF THE WORK AND EXPRESSLY DISCLAIMS ANY EXPRESS OR IMPLIED WARRANTY, INCLUDING ANY IMPLIED WARRANTY OF MERCHANTABILITY OR FITNESS FOR A SPECIFIC PURPOSE OR THAT THE USE OF THE WORK IS FREE FROM PATENT INFRINGEMENT. THE WORK IS SUPPLIED ONLY “AS IS.”
USE AT YOUR OWN RISK.
Copyright
The Institute of Electrical and Electronics Engineers, Inc.
3 Park Avenue, New York, NY 10016-5997, USA
Copyright © 2002 by the Institute of Electrical and Electronics Engineers, Inc.
All rights reserved. Published 23 September 2002. Printed in the United States of America.
Print: ISBN 0-7381-3351-5 SH95023
PDF: ISBN 0-7381-3352-3 SS95023
No part of this publication may be reproduced in any form, in an electronic retrieval system or otherwise, without the prior written permission of the publisher.
IEEE Standards documents are developed within the IEEE Societies and the Standards Coordinating Committees of the IEEE Standards Association (IEEE-SA) Standards Board. The IEEE develops its standards through a consensus development process, approved by the American National Standards Institute, which brings together volunteers representing varied viewpoints and interests to achieve the final product. Volunteers are not necessarily members of the Institute and serve without compensation. While the IEEE administers the process and establishes rules to promote fairness in the consensus development process, the IEEE does not independently evaluate, test, or verify the accuracy of any of the information contained in its standards.
Use of an IEEE Standard is wholly voluntary. The IEEE disclaims liability for any personal injury, property or other damage, of any nature whatsoever, whether special, indirect, consequential, or compensatory, directly or indirectly resulting from the publication, use of, or reliance upon this, or any other IEEE Standard document.
The IEEE does not warrant or represent the accuracy or content of the material contained herein, and expressly disclaims any express or implied warranty, including any implied warranty of merchantability or fitness for a specific purpose, or that the use of the material contained herein is free from patent infringement. IEEE Standards documents are supplied “AS IS.”
The existence of an IEEE Standard does not imply that there are no other ways to produce, test, measure, purchase, market, or provide other goods and services related to the scope of the IEEE Standard. Furthermore, the viewpoint expressed at the time a standard is approved and issued is subject to change brought about through developments in the state of the art and comments received from users of the standard. Every IEEE Standard is subjected to review at least every five years for revision or reaffirmation. When a document is more than five years old and has not been reaffirmed, it is reasonable to conclude that its contents, although still of some value, do not wholly reflect the present state of the art. Users are cautioned to check to determine that they have the latest edition of any IEEE Standard.
In publishing and making this document available, the IEEE is not suggesting or rendering professional or other services for, or on behalf of, any person or entity. Nor is the IEEE undertaking to perform any duty owed by any other person or entity to another. Any person utilizing this, and any other IEEE Standards document, should rely upon the advice of a competent professional in determining the exercise of reasonable care in any given circumstances.
Interpretations: Occasionally questions may arise regarding the meaning of portions of standards as they relate to specific applications. When the need for interpretations is brought to the attention of IEEE, the Institute will initiate action to prepare appropriate responses. Since IEEE Standards represent a consensus of concerned interests, it is important to ensure that any interpretation has also received the concurrence of a balance of interests. For this reason, IEEE and the members of its societies and Standards Coordinating Committees are not able to provide an instant response to interpretation requests except in those cases where the matter has previously received formal consideration.
Comments for revision of IEEE Standards are welcome from any interested party, regardless of membership affiliation with IEEE. Suggestions for changes in documents should be in the form of a proposed change of text, together with appropriate supporting comments. Comments on standards and requests for interpretations should be addressed to:
Secretary, IEEE-SA Standards Board
445 Hoes Lane
P.O. Box 1331
Piscataway, NJ 08855-1331
USA
Note: Attention is called to the possibility that implementation of this standard may require use of subject matter covered by patent rights. By publication of this standard, no position is taken with respect to the existence or validity of any patent rights in connection therewith. The IEEE shall not be responsible for identifying patents for which a license may be required by an IEEE standard or for conducting inquiries into the legal validity or scope of those patents that are brought to its attention.
Authorization to photocopy portions of any individual standard for internal or personal use is granted by the Institute of Electrical and Electronics Engineers, Inc., provided that the appropriate fee is paid to Copyright Clearance Center. To arrange for payment of licensing fee, please contact Copyright Clearance Center, Customer Service, 222 Rosewood Drive, Danvers, MA 01923 USA; +1 978 750 8400. Permission to photocopy portions of any individual standard for educational classroom use can also be obtained through the Copyright Clearance Center.

## Data-Normal
Site |  |  |  |  | 2002-08-05
Data Entry Sheet for: | Normal Operation |  |  | Enter description of operating mode. | [7 empty] | Equipment Class: | Grounding Type: | Protective Device Type:
[12 empty] | 1 - Open Air | 1 - Solid Grounded | 0 - Other
Columns A-C | Bus name, voltage and bolted fault current from short circuit study | [10 empty] | 2 - Cable | 2 - Ungrounded, Resistance Grounding, Other Impedance Grounding | 1 - RK1-100
Column D | Portion of bolted fault current that flows through protective device from study (at faulted bus voltage) | [10 empty] | 3 - Switchgear |  | 2 - RK1-200
Columns E, F, I | Calculated by the spreadsheet. | [10 empty] | 4 - MCCs, Panels |  | 3 - RK1-400
Column G | If cell is blue, enter time-- For relay or breaker with integral trips, enter Trip Time at the Calculated Arcing | [12 empty] | 4 - RK1-600
| Fault Current from column F. | [12 empty] | 5 - L-800
Column H | If cell is blue, enter time-- For relay operated breaker, enter breaker Opening Time. For fuses, enter | [12 empty] | 6 - L-1200
| the total clearing time at the calculated Arcing Fault Current from column F. | [12 empty] | 7 - L-1600
Column J | If cell is blue, enter Trip Time for relay or breaker at the Reduced Arcing Fault Current | [12 empty] | 8 - L-2000
Column K | If cell is blue, enter breaker opening time or fuse clearing time at the reduced arcing fault current (col I.) | [12 empty] | 9 - MCCB-100-400
Column L | Enter Working Distance between worker's body and the possible arcing location. | [12 empty] | 10 - MCCB-600-1200-M
Column M | Enter Equipment Class from the list. | [12 empty] | 11 - MCCB-600-1200-LI
Column N | Enter Grounding Type from the list. | [12 empty] | 12 - MCCB-1600-6000
Column O | Enter Protective Device Type from the list. Cell turns orange if out or range or if device is CB and It isnot entered in Col P. | [12 empty] | 13 - LVPCB-800-6300-LI
Column P | If cell is blue, enter Instantaneous Trip current for Circuit Breakers (See CB Reference Tab) | [12 empty] | 14 - LVPCB-800-6300-LS
Boundary Energy |  | J/cm2 | 1.2 | cal/cm2 | Enter one of these values to determine arc flash boundary distance at that incident energy.
Motor Contribution Factor: | 0 | Enter typical portion of bolted fault from motor contribution. Example: 0.03
If you leave column D blank, motor contribution factor will be used to calculate Column E.
Name of bus | kV of bus | Bolted fault current of bus in kA (from study) | Portion of Bolted fault current that flows through protective device in kA (from study) | Protective device fault current without motor contrib. in kA (B21) | Arcing fault current in protective device, in kA (Calculated) | Trip Time | Opening Time | Reduced arcing fault current in protective device, in kA | Trip Time at Reduced Current | Opening Time at reduced current | Working Distance in mm | Equipment Class | Grounding Type | Protective Device Type | It of Circuit Breaker in kA | Total Arcing Current | Log(Ibf) | Gap | K | Low Voltage Log(Ia) | Medium Voltage Log(Ia) | Log(Ia) | Log(Ia), with Ia reduced to 85% of calculated value | CB Current lower limit, I1 | Ibf in CB is above lower limit of CB equation | Ibf in fuse is between limits of fuse equations
BFP-Ifp | 13.8 | 11 |  | 11 | 10.6588 | 0.18 | 0.08 | Not required |  |  | 1825 | 1 | 2 | 0 |  | 10.6588 | 1.0414 | 153 | -0.153 | 9.4962 | 1.0277 | 1.0277 | 0.95711 | #VALUE! | 0 | 1
BFP-Ifs | 0.48 | 37.8 |  | 37.8 | 19.0617 | 0.18 | 0.08 | 16.2018 | 1.4 | 0.08 | 610 | 3 | 1 | 0 |  | 19.0617 | 1.5775 | 32 | -0.097 | 1.2802 | 1.5547 | 1.2802 | 1.2096 | #VALUE! | 0 | 1
BFP-Ifc2 | 0.48 | 13.9 |  | 13.9 | 7.2823 | 0.18 | 0.08 | 6.1897 | 0.3 | 0.05 | 610 | 1 | 1 | 0 |  | 7.2823 | 1.143 | 32 | -0.153 | 0.86227 | 1.1276 | 0.86227 | 0.79167 | #VALUE! | 0 | 1
Utility Example | 68.8 | 5.37 |  | 5.37 | 5.37 | 0.18 | 0.08 | Not required |  |  | 1825 | 1 | 1 | 0 |  | 5.37 | 0.72997 | 153 | -0.153 | 34.7815 | 0.72158 | 0.72997 | 0.65937 | #VALUE! | 0 | 1
KEMA Test 8244 | 4.16 | 5.44 |  | 5.44 | 5.3347 | 0.18 | 0.08 | Not required |  |  | 483 | 1 | 2 | 0 |  | 5.3347 | 0.7356 | 102 | -0.153 | 2.2714 | 0.72711 | 0.72711 | 0.65651 | #VALUE! | 0 | 1
KEMA Test 8283 | 4.16 | 40.43 |  | 40.43 | 38.3186 | 0.18 | 0.08 | Not required |  |  | 610 | 3 | 2 | 0 |  | 38.3186 | 1.6067 | 102 | -0.097 | 4.6589 | 1.5834 | 1.5834 | 1.5128 | #VALUE! | 0 | 1
SqD 28397 | 0.4 | 103.34 |  | 103.34 | 38.4929 | 0.18 | 0.08 | 32.7175 | 0 | 0.061 | 610 | 4 | 1 | 0 |  | 38.4929 | 2.0143 | 25 | -0.097 | 1.5854 | 1.984 | 1.5854 | 1.5148 | #VALUE! | 0 | 1
SqD F28 | 0.4 | 53.6 |  | 53.6 | 22.6247 | 0.18 | 0.08 | 19.2302 | 0 | 0.111 | 610 | 4 | 1 | 0 |  | 22.6247 | 1.7292 | 25 | -0.097 | 1.3546 | 1.7038 | 1.3546 | 1.284 | #VALUE! | 0 | 1
Kinectrics 2338 | 0.59 | 3.35 |  | 3.35 | 2.4572 | 0.18 | 0.08 | 2.0885 | 0 | 0.209 | 610 | 1 | 1 | 0 |  | 2.4572 | 0.52504 | 32 | -0.153 | 0.39043 | 0.52014 | 0.39043 | 0.31983 | #VALUE! | 0 | 1
250AMCCB | 0.48 | 20 |  | 20 | 11.8547 | 0.18 | 0.08 | Not required |  |  | 457 | 4 | 1 | 9 | 20 | 11.8547 | 1.301 | 25 | -0.097 | 1.0739 | 1.2829 | 1.0739 | 1.0033 | 49.6843 | 0 | 1
2000A | 0.48 | 50 |  | 50 | 25.931 | 0.18 | 0.08 | Not required |  |  | 457 | 4 | 1 | 12 | 4 | 25.931 | 1.699 | 25 | -0.097 | 1.4138 | 1.6741 | 1.4138 | 1.3432 | 7.5583 | 1 | 1
1000A | 0.48 | 50 |  | 50 | 25.931 | 0.18 | 0.08 | Not required |  |  | 457 | 4 | 1 | 10 | 2 | 25.931 | 1.699 | 25 | -0.097 | 1.4138 | 1.6741 | 1.4138 | 1.3432 | 3.3591 | 1 | 1
1000LI | 0.48 | 50 |  | 50 | 25.931 |  |  | Not required |  |  | 457 | 4 | 1 | 11 | 2 | 25.931 | 1.699 | 25 | -0.097 | 1.4138 | 1.6741 | 1.4138 | 1.3432 | 3.3591 | 1 | 1
1200LI | 0.48 | 50 |  | 50 | 25.931 |  |  | Not required |  |  | 457 | 4 | 1 | 13 | 2.4 | 25.931 | 1.699 | 25 | -0.097 | 1.4138 | 1.6741 | 1.4138 | 1.3432 | 4.1578 | 1 | 1
1200A Cl L | 0.48 | 30 |  | 30 | 13.8216 | 0.18 | 0.08 | 11.7479 | 0 | 0.638 | 610 | 1 | 1 | 0 |  | 13.8216 | 1.4771 | 32 | -0.153 | 1.1406 | 1.456 | 1.1406 | 1.07 | #VALUE! | 0 | 1
600A RK1 | 0.48 | 15 |  | 15 | 7.7592 | 0.18 | 0.08 | 6.5951 | 0 | 0.59 | 610 | 1 | 1 | 0 |  | 7.7592 | 1.1761 | 32 | -0.153 | 0.88982 | 1.1601 | 0.88982 | 0.81922 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1
enter location | 0.48 | 20 |  | 20 | 9.8602 | 0.18 | 0.08 | 8.3808 |  |  | 610 | 1 | 1 | 0 |  | 9.8602 | 1.301 | 32 | -0.153 | 0.99389 | 1.2829 | 0.99389 | 0.92329 | #VALUE! | 0 | 1

## Calcs-Normal
Site: | [7 empty] | Normal Operation
Results of arc flash calculations for determination of PPE and flash boundary | [28 empty] | 1.2 | Boundary Energy
Bus Information | kV of bus | Bolted Fault Current | Total Arcing Fault Current | Equipment Class | Grounding | Protective Device Type | Gap | Working Distance | Protective Device Arc Fault Current | Arc Clearing Time | Reduced Current Clearing Time | Incident Energy | Incident Energy | Arc Flash Boundary | PPE per NFPA 70E | Distance Exponent |  |  |  | Equations from data analysis; calculated Ia |  |  |  | Equations from data analysis; reduced Ia | [6 empty] | Lee Equations |  | CB Equations | [6 empty] | Fuse Equations
Name of Location | kV | kA | kA | 1 to 4 | 1 or 2 | 0 to 14 | mm | mm | kA | sec | sec | J/cm2 | cal/cm2 | mm | Category | X | Cf | K1 | K2 | Log(Ia) | Log(En) | En | E | Log(Ia) | Log(En) | En | E | E | Dx | Bound | Lee Eqn | Lee Bound | Ifb in CB is above lower limit of CB equation | K1 | K2 | Ecalc@457 mm | Ecalc at D | Dx | Boundary | K1 | K2 | K3 | Ecalc@457 mm | Ecalc at D | Dx | Boundary | Ibf limit | Ifb in fuse is between limits of fuse equations | Data Bad. If fuse or CB device selected and outside limits of equations, then Col. M and N flagged. (conditional formatting)
BFP-Ifp | 13.8 | 11 | 10.6588 | 1 | 2 | 0 | 153 | 1825 | 10.6588 | 0.26 | 0 | 1.866 | 0.446 | 1112.5963 | 0 | 2 | 1 | -0.792 | 0 | 1.0277 | 0.48725 | 3.0708 | 0.446 | 0.95711 | 0.41093 | 2.5759 | 0 | 0.446 | 1237870.5065 | 1112.5963 | 6.0626 | 4102.0623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
BFP-Ifs | 0.48 | 37.8 | 19.0617 | 3 | 1 | 0 | 32 | 610 | 19.0617 | 0.26 | 1.48 | 219.6097 | 52.488 | 7930.4965 | X | 1.473 | 1.5 | -0.555 | -0.113 | 1.2802 | 0.75106 | 5.6371 | 10.9923 | 1.2096 | 0.67474 | 4.7286 | 52.488 | 52.488 | 554203.7475 | 7930.4965 | 6.4862 | 1418.185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1284 | 32.262 | 27.4085 | 17.9123 | 189129.9327 | 3822.2754 | 0 | 1 | FALSE
BFP-Ifc2 | 0.48 | 13.9 | 7.2823 | 1 | 1 | 0 | 32 | 610 | 7.2823 | 0.26 | 0.35 | 10.6344 | 2.5417 | 887.7692 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.86227 | 0.062311 | 1.1543 | 2.2508 | 0.79167 | -0.014008 | 0.96826 | 2.5417 | 2.5417 | 788134.0746 | 887.7692 | 2.3851 | 859.9919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
Utility Example | 68.8 | 5.37 | 5.37 | 1 | 1 | 0 | 153 | 1825 | 5.37 | 0.26 | 0 | 61.7366 | 14.7554 | 6399.5248 | 3 | 2 | 1 | -0.792 | -0.113 | 0.72997 | 0.052402 | 1.1282 | 0.16386 | 0.65937 | -0.023916 | 0.94642 | 0 | 0.16386 | 454803.6895 | 674.3913 | 14.7554 | 6399.5248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
KEMA Test 8244 | 4.16 | 5.44 | 5.3347 | 1 | 2 | 0 | 102 | 483 | 5.3347 | 0.26 | 0 | 11.0793 | 2.648 | 717.49 | 1 | 2 | 1 | -0.792 | 0 | 0.72711 | 0.10621 | 1.2771 | 2.648 | 0.65651 | 0.029891 | 1.0713 | 0 | 2.648 | 514791.9012 | 717.49 | 12.9036 | 1583.8443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
KEMA Test 8283 | 4.16 | 40.43 | 38.3186 | 3 | 2 | 0 | 102 | 610 | 38.3186 | 0.26 | 0 | 101.0185 | 24.144 | 13339.286 | 3 | 0.973 | 1 | -0.555 | 0 | 1.5834 | 1.2689 | 18.5723 | 24.144 | 1.5128 | 1.1925 | 15.5793 | 0 | 24.144 | 10321.7659 | 13339.286 | 60.1245 | 4317.8236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1284 | 32.262 | 27.0708 | 20.4396 | 8738.1222 | 11240.5983 | 0 | 1 | FALSE
SqD 28397 | 0.4 | 103.34 | 38.4929 | 4 | 1 | 0 | 25 | 610 | 38.4929 | 0.26 | 0.061 | 96.5879 | 23.0851 | 3697.1821 | 3 | 1.641 | 1.5 | -0.555 | -0.113 | 1.5854 | 1.0733 | 11.8385 | 23.0851 | 1.5148 | 0.99698 | 9.9307 | 4.5433 | 23.0851 | 715939.056 | 3697.1821 | 14.7769 | 2140.5757 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5177 | 57.917 | 4.4179 | 2.7505 | 85301.2411 | 1011.2252 | 0 | 1 | FALSE
SqD F28 | 0.4 | 53.6 | 22.6247 | 4 | 1 | 0 | 25 | 610 | 22.6247 | 0.26 | 0.111 | 54.379 | 12.9969 | 2605.1604 | 3 | 1.641 | 1.5 | -0.555 | -0.113 | 1.3546 | 0.8238 | 6.6651 | 12.9969 | 1.284 | 0.74749 | 5.591 | 4.6545 | 12.9969 | 403073.6119 | 2605.1604 | 7.6644 | 1541.625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1284 | 32.262 | 25.3798 | 15.801 | 490036.8609 | 2934.5217 | 0 | 1 | FALSE
Kinectrics 2338 | 0.59 | 3.35 | 2.4572 | 1 | 1 | 0 | 32 | 610 | 2.4572 | 0.26 | 0.209 | 2.9099 | 0.69549 | 464.3925 | 0 | 2 | 1.5 | -0.792 | -0.113 | 0.39043 | -0.44774 | 0.35666 | 0.69549 | 0.31983 | -0.52406 | 0.29918 | 0.46897 | 0.69549 | 215660.4136 | 464.3925 | 0.70656 | 468.0743 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
250AMCCB | 0.48 | 20 | 11.8547 | 4 | 1 | 9 | 25 | 457 | 11.8547 | 0.26 | 0 | 43.4314 | 10.3804 | 1701.8783 | 3 | 1.641 | 1.5 | -0.555 | -0.113 | 1.0739 | 0.52037 | 3.3142 | 10.3804 | 1.0033 | 0.44406 | 2.7801 | 0 | 10.3804 | 200425.8271 | 1701.8783 | 6.1144 | 1031.5778 | 0 | 0.045 | 0.13 | 1.03 | 1.03 | 19887.4208 | 416.3774 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | TRUE
2000A | 0.48 | 50 | 25.931 | 4 | 1 | 12 | 25 | 457 | 25.931 | 0.26 | 0 | 25.3969 | 6.07 | 1227.2342 | 2 | 1.641 | 1.5 | -0.555 | -0.113 | 1.4138 | 0.88784 | 7.7239 | 24.1923 | 1.3432 | 0.81152 | 6.4792 | 0 | 24.1923 | 467108.6533 | 2850.07 | 15.286 | 1631.0677 | 1 | 0.107 | 0.72 | 6.07 | 6.07 | 117200.6255 | 1227.2342 | 0 | -0.1284 | 32.262 | 25.842 | 25.842 | 498961.872 | 2966.9761 | 0 | 1 | FALSE
1000A | 0.48 | 50 | 25.931 | 4 | 1 | 10 | 25 | 457 | 25.931 | 0.26 | 0 | 12.6775 | 3.03 | 803.615 | 1 | 1.641 | 1.5 | -0.555 | -0.113 | 1.4138 | 0.88784 | 7.7239 | 24.1923 | 1.3432 | 0.81152 | 6.4792 | 0 | 24.1923 | 467108.6533 | 2850.07 | 15.286 | 1631.0677 | 1 | 0.053 | 0.38 | 3.03 | 3.03 | 58503.7718 | 803.615 | 0 | -0.1284 | 32.262 | 25.842 | 25.842 | 498961.872 | 2966.9761 | 0 | 1 | FALSE
1000LI | 0.48 | 50 | 25.931 | 4 | 1 | 11 | 25 | 457 | 25.931 | 0 | 0 | 20.1836 | 4.824 | 1066.8963 | 1 | 1.641 | 1.5 | -0.555 | -0.113 | 1.4138 | 0.88784 | 7.7239 | 0 | 1.3432 | 0.81152 | 6.4792 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.09 | 0.324 | 4.824 | 4.824 | 93142.6387 | 1066.8963 | 0 | -0.1284 | 32.262 | 25.842 | 25.842 | 498961.872 | 2966.9761 | 0 | 1 | FALSE
1200LI | 0.48 | 50 | 25.931 | 4 | 1 | 13 | 25 | 457 | 25.931 | 0 | 0 | 35.0619 | 8.38 | 1493.7399 | 3 | 1.641 | 1.5 | -0.555 | -0.113 | 1.4138 | 0.88784 | 7.7239 | 0 | 1.3432 | 0.81152 | 6.4792 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.15 | 0.88 | 8.38 | 8.38 | 161802.5109 | 1493.7399 | 0 | -0.1284 | 32.262 | 25.842 | 25.842 | 498961.872 | 2966.9761 | 0 | 1 | FALSE
1200A Cl L | 0.48 | 30 | 13.8216 | 1 | 1 | 0 | 32 | 610 | 13.8216 | 0.26 | 0.638 | 38.7525 | 9.2621 | 1694.7014 | 3 | 2 | 1.5 | -0.792 | -0.113 | 1.1406 | 0.36314 | 2.3075 | 4.4997 | 1.07 | 0.28683 | 1.9356 | 9.2621 | 9.2621 | 2872012.6911 | 1694.7014 | 5.1477 | 1263.4196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1284 | 32.262 | 28.41 | 15.9457 | 4944500.075 | 2223.6232 | 0 | 1 | FALSE
600A RK1 | 0.48 | 15 | 7.7592 | 1 | 1 | 0 | 32 | 610 | 7.7592 | 0.26 | 0.59 | 19.1991 | 4.5887 | 1192.8429 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.88982 | 0.092093 | 1.2362 | 2.4106 | 0.81922 | 0.015775 | 1.037 | 4.5887 | 4.5887 | 1422874.2746 | 1192.8429 | 2.5739 | 893.3726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE
enter location | 0.48 | 20 | 9.8602 | 1 | 1 | 0 | 32 | 610 | 9.8602 | 0.26 | 0 | 13.0682 | 3.1234 | 984.1276 | 1 | 2 | 1.5 | -0.792 | -0.113 | 0.99389 | 0.20459 | 1.6017 | 3.1234 | 0.92329 | 0.12827 | 1.3436 | 0 | 3.1234 | 968507.2129 | 984.1276 | 3.4318 | 1031.5778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 1 | FALSE

## Summary
Site |  |  | Summary of Incident Energy Calculations
Incident Energy in cal/cm2 and Working Distance
2002-08-05 |  | Normal Operation | Normal Operation | Working Distance | Arc Flash Boundary
Location | Voltage | J/cm2 | cal/cm2 | mm | mm
BFP-Ifp | 13.8 | 1.866 | 0.446 | 1825 | 1112.5963
BFP-Ifs | 0.48 | 219.6097 | 52.488 | 610 | 7930.4965
BFP-Ifc2 | 0.48 | 10.6344 | 2.5417 | 610 | 887.7692
Utility Example | 68.8 | 61.7366 | 14.7554 | 1825 | 6399.5248
KEMA Test 8244 | 4.16 | 11.0793 | 2.648 | 483 | 717.49
KEMA Test 8283 | 4.16 | 101.0185 | 24.144 | 610 | 13339.286
SqD 28397 | 0.4 | 96.5879 | 23.0851 | 610 | 3697.1821
SqD F28 | 0.4 | 54.379 | 12.9969 | 610 | 2605.1604
Kinectrics 2338 | 0.59 | 2.9099 | 0.69549 | 610 | 464.3925
250AMCCB | 0.48 | 43.4314 | 10.3804 | 457 | 1701.8783
2000A | 0.48 | 25.3969 | 6.07 | 457 | 1227.2342
1000A | 0.48 | 12.6775 | 3.03 | 457 | 803.615
1000LI | 0.48 | 20.1836 | 4.824 | 457 | 1066.8963
1200LI | 0.48 | 35.0619 | 8.38 | 457 | 1493.7399
1200A Cl L | 0.48 | 38.7525 | 9.2621 | 610 | 1694.7014
600A RK1 | 0.48 | 19.1991 | 4.5887 | 610 | 1192.8429
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276
enter location | 0.48 | 13.0682 | 3.1234 | 610 | 984.1276

## Reference Tables
Reference Tables
Gap and Distance Exponent Tables
| kV | Type | Equipment Number | Gap | X
| 0.208 to 1 | Open air | 1 | 32 | 2
|  | Switchgear | 3 | 32 | 1.473
|  | MCC and Panels | 4 | 25 | 1.641
|  | Cable | 2 | 13 | 2
| kV | Type | Equipment Number | Gap | X
| 1 to 5 | Open air | 1 | 102 | 2
|  | Switchgear | 3 | 102 | 0.973
|  | Cable | 2 | 13 | 2
|  |  | 4 | 102 | 0.973
| kV | Type | Equipment Number | Gap | X
| 5 to 15 | Open air | 1 | 153 | 2
|  | Switchgear | 3 | 153 | 0.973
|  | Cable | 2 | 13 | 2
|  |  | 4 | 153 | 0.973
PPE Rating Table (from NFPA 70E)
| Min Rating of PPE | Max Rating of PPE | Risk Category
| 0 | 1.2 | 0
| 1.2001 | 5 | 1
| 5.001 | 8 | 2
| 8.001 | 25 | 3
| 25.001 | 40 | 4
| 40.001 | No maximum | X
Protective Device Type Descriptions
| 1 | RK1-100 | Class RK1 Fuse, 0A to 100 A
| 2 | RK1-200 | Class RK1 Fuse, 101A to 200 A
| 3 | RK1-400 | Class RK1 Fuse, 201A to 400 A
| 4 | RK1-600 | Class RK1 Fuse, 401A to 600A
| 5 | L-800 | Class L Fuse, 601A to 800 A
| 6 | L-1200 | Class L Fuse, 801A to 1200 A
| 7 | L-1600 | Class L Fuse, 1201A to 1600 A
| 8 | L-2000 | Class L Fuse, 1601A to 2000 A
| 9 | MCCB-100-400 | 100 to 400 ampere Molded Case CBs with all trip units
| 10 | MCCB-600-1200-M | 600 to 1200 ampere MCCBs with TM and M trip units
| 11 | MCCB-600-1200-LI | 600 to 1200 ampere MCCBs and ICCBs with LI electronic trip units
| 12 | MCCB-1600-6000 | 1600 to 6000 ampere MCCBs and ICCBs with LI, TM or M trip units
| 13 | LVPCB-800-6300-LI | 800 to 6300 ampere LVPCBs, LI trip units
| 14 | LVPCB-800-6300-LS | 800 to 6300 ampere LVPCBs, LS trip units
CB Equation Constants Table (E = k1 * Ibf + k2)
| Device Type | 480V& lower, K1 | 480V&lower, K2 | 600V K1 | 600V K2
| 9 | 0.045 | 0.13 | 0.065 | 0.04
| 10 | 0.053 | 0.38 | 0.08 | 0.09
| 11 | 0.09 | 0.324 | 0.112 | 11
| 12 | 0.107 | 0.72 | 0.164 | 0.04
| 13 | 0.15 | 0.88 | 0.23 | 0.07
| 14 | 1.09 | 6.51 | 1.64 | 0.519
Fuse Equation Lower Limits Table
| Device Type | Lower Limit of Ibf
| 1 | 0.65
| 2 | 1.16
| 3 | 3.16
| 4 | 8.5
| 5 | 15.7
| 6 | 15.7
| 7 | 15.7
| 8 | 22.6
Fuse Equation Constants Table (E = K1 * Ibf^2 + K2 * Ibf + K3)
| Device Type | Ibf from | Ibf to | K1 | K2 | K3
| 1 | 0 | 0.65 | 0 | 0 | Note A
| 1 | 0.65 | 1.16 | 0 | -11.176 | 13.565
| 1 | 1.16 | 1.4 | 0 | -1.4583 | 2.2917
| 1 | 1.4 | 106 | 0 | 0 | 0.25
| 1 | 106 | 1000 | 0 | 0 | Note B
| 2 | 0 | 1.16 | 0 | 0 | Note A
| 2 | 1.16 | 1.6 | 0 | -18.409 | 36.355
| 2 | 1.6 | 3.16 | 0 | -4.2628 | 13.721
| 2 | 3.16 | 106 | 0 | 0 | 0.25
| 2 | 106 | 1000 | 0 | 0 | Note B
| 3 | 0 | 3.16 | 0 | 0 | Note A
| 3 | 3.16 | 5.04 | 0 | -19.053 | 96.808
| 3 | 5.04 | 22.6 | 0 | -0.0302 | 0.9321
| 3 | 22.6 | 106 | 0 | 0 | 0.25
| 3 | 106 | 1000 | 0 | 0 | Note B
| 4 | 0 | 8.5 | 0 | 0 | Note A
| 4 | 8.5 | 14 | 0 | -3.0545 | 43.364
| 4 | 14 | 15.7 | 0 | 0 | 0.6
| 4 | 15.7 | 22.6 | 0 | -0.0507 | 1.3964
| 4 | 22.6 | 106 | 0 | 0 | 0.25
| 4 | 106 | 1000 | 0 | 0 | Note B
| 5 | 0 | 15.7 | 0 | 0 | Note A
| 5 | 15.7 | 44.1 | 0 | -0.0601 | 2.8992
| 5 | 44.1 | 106 | 0 | 0 | 0.25
| 5 | 106 | 1000 | 0 | 0 | Note B
| 6 | 0 | 15.7 | 0 | 0 | Note A
| 6 | 15.7 | 22.6 | 0 | -0.1928 | 14.226
| 6 | 22.6 | 44.1 | 0.0143 | -1.3919 | 34.045
| 6 | 44.1 | 106 | 0 | 0 | 0.39
| 6 | 106 | 1000 | 0 | 0 | Note B
| 7 | 0 | 15.7 | 0 | 0 | Note A
| 7 | 15.7 | 31.8 | 0 | -0.1863 | 27.926
| 7 | 31.8 | 44.1 | 0 | -1.5504 | 71.303
| 7 | 44.1 | 65.9 | 0 | 0 | 2.93
| 7 | 65.9 | 106 | 0 | -0.0631 | 7.0878
| 7 | 106 | 1000 | 0 | 0 | Note B
| 8 | 0 | 22.6 | 0 | 0 | Note A
| 8 | 22.6 | 65.9 | 0 | -0.1284 | 32.262
| 8 | 65.9 | 106 | 0 | -0.5177 | 57.917
| 8 | 106 | 1000 | 0 | 0 | Note B
Note A: Must change to device type 0 if bolted fault current is below lower limit; use time-current curves.
Note B: Contact manufacturer for additional information above upper limit.

## CB Reference
Circuit Breaker Reference Information
This sheet provides a simple method for making the calculations where low-voltage CBs provide overcurrent protection. The method covers molded-case circuit breakerss (MCCBs), insulated-case circuit breakers (ICCBs) and low-voltage power circuit breakers (LVPCBs). Generic information covering the time-current characteristic of CBs is contained within the method. This inclusion eliminates the need for the individual performing the calculation to find and interpret the CB time-current curve. The CBs selected for this analysis are those that have been generally available from approximately 1980 - 2001.
The variables used in this sheet are:
I1 - the lowest arc current at which the CB clears a fault at the instantaneous-clearing time
I2 - the CB interrupting rating in kA
It - current at which the CB trips instantaneously (without intentional delay) in kA
A. Circuit Breaker Performance Range
Equations in this method provide the maximum estimated energy between fault current points I1 and I2. As we have stated, point I2 is the interrupting rating of the CB. I1 is the minimum arcing fault current at which this method can be applied. It is the lowest bolted fault current level that generates arcing current great enough for instantaneous tripping to occur. Recall that the current flowing is the arc current, which is lower than the available bolted fault current.
To find I1, use the manufacturers time-current curve if it is available and take the instantaneous trip value, It, from the curve as shown in Figure 1 and insert it in Column P. If the curve is not available, but the instantaneous trip setting is shown on the breaker, use that setting. Alternatively, the default value noted in B below must be used. Where an LS trip unit is used, It is the short-time pick-up current.
Figure 1 – It Shown on Time-Current Characteristic
B. It Default Value
When the tripping current, It, is not known, use a default value of 10 times the continuous current rating of the CB, except for CBs rated 100 A and below. For CBs rated 100 A and below, use a default value of It = 1300 A.
I1 = 10^[0.0281 + 1.09 Log((1.3 It)] at 600 V and, | (Eq. 5)
I1 = 10^[0.0407 + 1.17 Log((1.3 It)] at 480 V and lower.} | (Eq. 6)
Spreadsheet compares I1 to Bolted Fault current; if I1<Ib, then CB equations can be used; trip and operating times are not required. The entry cells for the trip and operating times are changed to 'white' to show that no entry is needed. If I1>Ib, then the CB equations are not used to calculate incident energy.